w w w . m a r s h a l l . e d u

Safety and Health

Quick Guide to Chemical Compatibility

Use these 4 steps to segregate your chemicals for the safest possible storage.  As you gather information about the characteristics of your chemicals, fill in the 4 sections of the chart.

Once all information has been entered compare the information.  The chemicals that have the same answers in all 4 categories can be stored in the same secondary containment.

1.) Identify the Chemical Hazard

Physical: 	Corrosive, Flammable, Oxidizer, Reactives

Health: 	Toxic

Segregate chemicals into like type hazards.  Be aware that some chemicals have multiple hazards and therefore require further segregation.  Detailed information is provided in the Hazardous Chemicals of Concern List and Storage Guide on the Safety and Health web site:  http://www.marshall.edu/safety.

2.) Determine the pH Value

Acid, Neutral, Base

Continue to segregate the chemical groups by identifying if they are acidic (pH < 4),

neutral (pH 4 - 10), or basic (pH > 10).

3.) Inorganic or Organic

Identify whether a chemical is an inorganic or organic compound.  Organic compounds will have carbon (C) in the chemical formula. Take note that even though a “C” may appear in the formula it might be referencing a different chemical element.

A few examples of these elements are cadmium (Cd), calcium (Ca), and chlorine (Cl).  This step is extremely important for the segregation and storage of corrosives and oxidizing chemicals.

4.) Solid or Liquid

Solid and liquid chemicals should be stored separately to minimize the involvement of chemicals in the event of a liquid spill.

Example Chart

| Chemical Name | 1) Hazard | 2) pH Value | 3) Inorganic / Organic | 4) Solid / Liquid |
| --- | --- | --- | --- | --- |
| Ammonium Hydroxide | Corrosive | Base | Inorganic | Liquid |
| Sulfuric Acid | Corrosive | Acid | Inorganic | Liquid |
| Isopropanol | Flammable | Neutral | Organic | Liquid |
| Acetic Acid | Corrosive | Acid | Organic | Liquid |
| Nitric Acid | Corrosive, Oxidizer | Acid | Inorganic | Liquid |
| Ethyl Alcohol | Flammable | Neutral | Organic | Liquid |
| Formalin | Toxic | Neutral | Organic | Liquid |

Notice:  In the above example only Isopropanol and Ethyl Alcohol can be stored together in the same secondary containment.

Definitions

Combustible: Solids that are difficult to ignite and burn relatively slowly, and liquids having a flash point between 100_F (37.7_C) and 200_F (93.3_C).

Corrosive: Any solid, liquid, or gaseous substance that burns, irritates, or destructively attacks organic tissue.  Chemicals with a pH value less than 4.0 (acidic) or greater than 10.0 (basic) are considered to be corrosive substances.

Flammable: Any solid, liquid, vapor, or gas material that will ignite easily and burn rapidly. This is a chemical that when in liquid form will have a flash point of < 100_F (37.7_C).

Flash Point: The temperature at which a liquid or volatile solid gives off vapors that will ignite when exposed to an ignition source.

Oxidizer: A compound that supplies its own oxygen and heat (ignition source) when in contact with organic compounds. These are chemicals that can react vigorously and explode.

Toxic: A substance that can cause damage to living tissue, impairment of the central nervous system, severe illness, or death when ingested, injected, inhaled, or absorbed through skin.

For questions or assistance contact Safety and Health at 696-3461.

Remember, the Safety and Health web site has guidance and additional reference sources for chemical compatibility, storage requirements, inventory forms and requirements, labeling and label templates, and MSDS information.