## Sheet2
Marshall University
Environmental Health and Safety
Biosafety Inspection Checklist
Building | Room(s)
PI | Designee
General Microbiological Requirements
General Safety | Y | N | NA
Doorways, floors, aisles, and adjacent hallways are unobstructed.
Electrical panels, fire extinguishers, and pull stations are accessible.
No objects are stored within 18” of the ceiling.
Laboratory equipment does not have exposed wiring or electrical cords. Power strips and extension cords are in good condition and not daisy-chained together
Laboratory is adequately organized and clean to limit the risk of spills and other preventable incidents.
Laboratory Practices | Y | N | NA
All personnel wash their hands after working with potentially hazardous materials and before leaving the laboratory. Contaminated gloves are not worn outside the laboratory.
Eating, drinking, smoking, handling contact lenses, applying cosmetics, and storing food for human consumption are not allowed in the laboratory.
Mouth pipetting is prohibited; mechanical pipetting devices are available.
All procedures are performed to minimize the creation of splashes and/or aerosols.
All lab personnel wear close toed shoes that cover the entire foot, and long garment that covers the legs completely.
Safety glasses are always worn while in the laboratory especially by persons wearing contact lenses.
Protective laboratory coats and gowns are available.
Gloves are worn to protect hands from exposure to hazardous materials and based on appropriate risk assessment.
Any accidents or injuries must be reported to the laboratory director or principal investigator (PI).
Needles and Sharps Precautions | Y | N | NA
Policies for the safe handling of sharps, such as needles, scalpels, pipettes, and broken glassware are implemented.
Needles are not bent, sheared, broken, recapped, removed from disposable syringes, or otherwise manipulated by hand before disposal.
Used disposable needles and syringes are carefully placed in conveniently located puncture-resistant containers used for sharps disposal.
Non-disposable sharps are placed in a hard walled container.
Broken glassware is not handled directly. Instead, it must be removed using a brush and dustpan, tongs, or forceps. Plasticware is substituted for glassware whenever possible.
Decontamination and waste disposal | Y | N | NA
Animals to be decontaminated offsite are placed in a container with a red liner.
All cultures, stocks, and other potentially infectious materials are place in orange biohazard bags to be decontaminated before disposal using approved disposal methods listed in the biosafety manual.
Work surfaces are decontaminated after completion of work and after any spill or splash of potentially infectious material with appropriate disinfectant. Diluted bleach should be stored in opaque containers.
All laboratory surfaces and furniture must be made of a material that is impervious to water, nonporous and can be effectively decontaminated using an appropriate disinfectant.
Sharps containers are sealed when ¾ full and placed in the Regulated Medical Waste container for disposal.
All biological waste, including aspirators, is stored in a secondary container.
BSCs are regularly decontaminated with an approved disinfectant listed in Appendix B of the Biosafety in Microbiological and Biomedical Laboratories (BMBL) 5th Edition.
Laboratory has a spill response plan and spill kit available.
Laboratory Facilities | Y | N | NA
A sign incorporating the universal biohazard symbol, the name of any infectious agents present, National Fire Protection Associate (NFPA) placard, and emergency contact information is posted at the entrance to the laboratory.
A biohazard symbol is posted on all equipment i.e., refrigerators, centrifuges, incubators, etc. that store and/or are used in the manipulation of biohazardous agents.
Laboratory has doors that are self-closing and lockable for access control.
Laboratory has a sink for hand washing.
Laboratory windows that open to the exterior are fitted with screens. An insect and rodent control program is also in effect.
Bench tops must be impervious to water and resistant to chemicals used to decontaminate the work surfaces and equipment.
Eyewash station is accessible within 10-seconds/55 feet of hazards. Eyewash stations are tested weekly and documented.
Access to the laboratory is restricted to only personnel who have fulfilled all necessary training requirements (refer to Training Section)
Training Requirements | Y | N | NA
All lab personnel have taken general lab safety training provided by Marshall within the last year, and CITI training in the last three.
All lab personnel working in BSL 2 labs or with nonexempt rDNA have taken Biosafety/Bloodborne Pathogens training provided by Marshall University within the last year, and CITI training in the last three.
The laboratory supervisor must ensure that laboratory personnel receive appropriate training regarding their duties, the necessary precautions to prevent exposures, potential hazards present in the laboratory, and exposure evaluation procedures. This training must be documented including general site-specific training and biological site specific training.
All personnel must receive additional training when new hazards are introduced to the lab.
Biosafety Level 2
Biosafety Level 2 builds upon BSL-1. BSL-2 is suitable for work involving agents that pose moderate hazards to personnel and the environment. It differs from BSL-1 in that: 1) laboratory personnel have specific training in handling pathogenic agents and are supervised by scientists competent in handling infectious agents and associated procedures; 2) access to the laboratory is restricted when work is being conducted; and 3) all procedures in which infectious aerosols or splashes may be created are conducted in biosafety cabinets (BSCs) or other physical containment equipment.
Biosafety Level 2 Practices | Y | N | NA
The laboratory supervisor must enforce the institutional policies that control access to the laboratory.
All persons entering the laboratory must be advised of the potential hazards and meet specific entry/exit requirements.
BSCs are used when procedures may create infectious aerosols or splashes.
BSCs are used when working with BSL2 organisms.
Equipment must be decontaminated before repair, maintenance, or removal from the laboratory.
Vacuum lines are protected with liquid disinfectant trap, in line HEPA filters, and drying agent trap.
Animals and plants not intended for research are not present in BSL-2 laboratories.
Protective lab coats are worn while working and laundered by MU designated personnel. Lab coats should not be worn or removed outside.
High concentrations or large volumes of infectious agents may only be centrifuged in an open lab in sealed rotor heads or safety cups.
Spills and accidents that result in potential exposure to infections materials are immediately reported to the laboratory director.
Laboratory personnel must be provided medical surveillance, as appropriate, and offered available immunizations for agents handled or potentially present in the laboratory.
A laboratory-specific biosafety manual must be prepared and adopted as policy. The biosafety manual must be available and accessible.
Notes:
Biological Safety Officer |  | Date